## HL7v2 + FHIR
Index | Segment | Set | Component | Title | Requirement for anonymous reporting (no PII) | Requirement for fully identified reporting (includes PII) | Removed during de-identification by hub | Comment | FHIR Cardinality | FHIR Optionality | FHIR Profile Path | At-Home Mapping | At-Home element description
1 | MSH | 1 | 1 | Field separator | Required | Required |  | "¦" | n/a | n/a | n/a | n/a | n/a
2 | MSH | 1 | 2 | Encoding characters | Required | Required |  | "^~\%" | n/a | n/a | n/a | n/a | n/a
3 | MSH | 1 | 3.1 | Sending system namespace | Required | Required |  | {name of App, <20 char} | 0..1 | MS | MessageHeader.source.name | MessageHeader-at-home-in-vitro-test-results.source.name | Sending system namespace (name of app)
4 | MSH | 1 | 3.2 | Sending system OID | Required | Required |  | See 'Obtaining App Specific Identifiers' | 0..1 | MS | MessageHeader.source.id | MessageHeader-at-home-in-vitro-test-results.source.id | Sending system OID
5 | MSH | 1 | 3.3 | Sending system OID type | Required | Required |  | “ISO” | n/a
6 | MSH | 1 | 4.1 | Sending facility name | Required | Required |  | See 'Obtaining App Specific Identifiers' | 0…1 | MS | MessageHeader.sender(Organization).name | MessageHeader-at-home-in-vitro-test-results.sender(US Core Organization).name | US Core: Name used for the organization
7 | MSH | 1 | 4.2 | Sending facility ID | Required | Required |  | See 'Obtaining App Specific Identifiers' | 0..1 | MS | MessageHeader.sender(Organization).identifier.value | MessageHeader-at-home-in-vitro-test-results.sender(US Core Organization).identifier:CLIA.value | US Core: Clinical Laboratory Improvement Amendments (CLIA) Number for laboratories
8 | MSH | 1 | 4.3 | Sending facility ID type | Required | Required |  | “CLIA” | 0..1 | MS | MessageHeader.sender(Organization).identifier.system | MessageHeader-at-home-in-vitro-test-results.sender(US Core Organization).identifier.system | US Core: The namespace for the identifier value Fixed Value: urn:oid:2.16.840.1.113883.4.7
9 | MSH | 1 | 5.1 | Receiving system namespace | Required | Required |  | To be provided by receiving system | 0..1 | MS | MessageHeader.destination.name | MessageHeader-at-home-in-vitro-test-results.destination.name | Receiving system namespace (name of destination application)
10 | MSH | 1 | 5.2 | Receiving system OID | Required | Required |  | To be provided by receiving system | 0..1 | MS | MessageHeader.destination.id | MessageHeader-at-home-in-vitro-test-results.destination.id | Receiving system OID
11 | MSH | 1 | 5.3 | Receiving system OID type | Required | Required |  | “ISO” | n/a
12 | MSH | 1 | 6.1 | Receiving facility name | Required | Required |  | To be provided by receiving system | 1…1 | MS | MessageHeader.destination.receiver(Organization).name | MessageHeader-at-home-in-vitro-test-results.receiver(US Core Organization).name | US Core: Name used for the organization
13 | MSH | 1 | 6.2 | Receiving facility ID | Required | Required |  | To be provided by receiving system | 0..1 | MS | MessageHeader.destination.receiver(Organization).identifier.value | MessageHeader-at-home-in-vitro-test-results.receiver(US Core Organization).identifier.value | US Core: Identifies this organization across multiple systems (the value that is unique)
[9 empty] | 1..1 | MS | MessageHeader.destination.receiver(Organization).identifier.system | MessageHeader-at-home-in-vitro-test-results.receiver(US Core Organization).identifier.system | US Core: Identifies this organization across multiple systems (the namespace for the identifier value)
14 | MSH | 1 | 6.3 | Receiving facility ID type | Required | Required |  | "ISO" | n/a
15 | MSH | 1 | 7 | Date and time of message | Required | Required |  | {"YYYYMMDDHHMMSS+ZZZZ” (where ZZZZ is the time zone offset); For example: ¦19760704010159-0500¦ is 1:01:59 on July 4, 1976 in the Eastern Standard Time zone (USA)} | 1..1 | MS | Bundle.timestamp | BundleAtHomeInVitroTest.timestamp | When the bundle was assembled
16 | MSH | 1 | 9.1 | Message Code | Required | Required |  | "ORU" | n/a
17 | MSH | 1 | 9.2 | Trigger Event | Required | Required |  | "R01" | n/a
18 | MSH | 1 | 9.3 | Message structure | Required | Required |  | "ORU_R01" | n/a
19 | MSH | 1 | 10 | Message control ID | Required | Required |  | {Date_SpecimenID} | n/a
20 | MSH | 1 | 11.1 | Processing ID | Required | Required |  | “T” during testing or "P" once in production | n/a
21 | MSH | 1 | 12.1 | Version ID | Required | Required |  | "2.5.1" | n/a
22 | MSH | 1 | 15 | Accept acknowledgement type | Required | Required |  | "NE" | n/a
23 | MSH | 1 | 16 | Application Acknowledgment Type | Required | Required |  | "NE" | n/a
24 | MSH | 1 | 21 | Message Profile Identifier | Required | Required |  | "PHLabReport-NoAck^ELR251R1_Rcvr_Prof^2.16.840.1.113883.9.11^ISO" | n/a
25 | SFT | 1 | 1 | Software Vendor Organization | Required | Required |  |  | 0..1 | MS | MessageHeader.source.extension | MessageHeader-at-home-in-vitro-test-results.source.extension[Extension-at-home-in-vitro-test-source-software-info.vendorOrganization] | Source software vendor organization
26 | SFT | 1 | 2 | Software Certified Version or Release Number | Required | Required |  |  | 0..1 | MS | MessageHeader.source.version | MessageHeader-at-home-in-vitro-test-results.source.version | Software certified version or release number
27 | SFT | 1 | 3 | Software Product Name | Required | Required |  |  | 0..1 | MS | MessageHeader.source.software | MessageHeader-at-home-in-vitro-test-results.source.software | Software product name
28 | SFT | 1 | 4 | Software Binary ID | Required | Required |  |  | 0..1 |  | MessageHeader.source.extension | MessageHeader-at-home-in-vitro-test-results.source.extension[Extension-at-home-in-vitro-test-source-software-info.softwareBinaryID] | Source software binary ID
29 | SFT | 1 | 6 | Software Install Date | Required | Required |  | {YYYYMMDD} | 0..1 |  | MessageHeader.source.extension | MessageHeader-at-home-in-vitro-test-results.source.extension[Extension-at-home-in-vitro-test-source-software-info.softwareInstallDate] | Source software install date
30 | PID | 1 | 1 | Set ID | Required | Required |  | “1” | n/a
31 | PID | 1 | 3.1 | Patient ID | Required | Required |  | Unique ID assigned to patient by App provider | 1..1 | MS | Patient.identifier.value | US Core Patient.identifier.value | US Core: An identifier for this patient: the value that is unique within the system
32 | PID | 1 | 3.4.2 | Patient ID assigner | Required | Required |  | See 'Obtaining App Specific Identifiers' (same as MSH-3.2) | 1..1 | MS | Patient.identifier.system | US Core Patient.identifier.system | US Core: An identifier for this patient: namespace for the identifier value
33 | PID | 1 | 3.4.3 | Patient ID assigner ID type | Required | Required |  | "ISO" | n/a
34 | PID | 1 | 3.5 | Patient ID Type | Required | Required |  | "PI" | n/a
35 | PID | 1 | 5.1 | Patient last name | Do not include | Required | Yes |  | 0..1 | MS | Patient.name.family | US Core Patient.name.family | US Core: Family name (often called 'Surname')
36 | PID | 1 | 5.2 | Patient first name | Do not include | Required | Yes |  | 0..1 | MS | Patient.name.given | US Core Patient.name.given | US Core: Given names (not always 'first'). Includes middle names
37 | PID | 1 | 5.3 | Patient middle name | Do not include | Optional | Yes |  | 0..1 | MS | Patient.name.given | US Core Patient.name.given | US Core: Given names (not always 'first'). Includes middle names
38 | PID | 1 | 7 | Patient DOB | Do not include | Required | Yes | {YYYYMMDD} | 0..1 | MS | Patient.birthDate | US Core Patient.birthDate | US Core: The date of birth for the individual
39 | PID | 1 | 8 | Patient sex | Optional | Required |  | https://www.hl7.org/fhir/v2/0001/ | 1..1 | MS | Patient.gender | US Core Patient.gender | US Core: male ¦ female ¦ other ¦ unknown
40 | PID | 1 | 10.1 | Patient race code | Optional | Optional |  | https://www.hl7.org/fhir/v2/0005/ | 0..1 | MS | Patient.us-core-race | US Core Patient.us-core-race | US Core Race Extension
41 | PID | 1 | 10.2 | Patient race description | Conditional | Conditional |  | When PID-10.1 is valued: https://www.hl7.org/fhir/v2/0005/ | 0..1 | MS | Patient.us-core-race | US Core Patient.us-core-race | US Core Race Extension
42 | PID | 1 | 10.3 | Patient race code system | Conditional | Conditional |  | When PID-10.1 is valued: "HL70005" | 0..1 | MS | Patient.us-core-race | US Core Patient.us-core-race | US Core Race Extension
43 | PID | 1 | 10.7 | Patient race code system version | Conditional | Conditional |  | When PID-10.1 is valued: "2.5.1" | 0..1 | MS | Patient.us-core-race | US Core Patient.us-core-race | US Core Race Extension
44 | PID | 1 | 11.1 | Patient street address | Do not include | Optional | Yes |  | 0..* | MS | Patient.address.line | US Core Patient.address.line | US Core: Street name, number, direction & P.O. Box etc.
45 | PID | 1 | 11.2 | Patient street address 2 | Do not include | Optional | Yes |  | 0..* | MS | Patient.address.line | US Core Patient.address.line | US Core: Street name, number, direction & P.O. Box etc.
46 | PID | 1 | 11.4 | Patient city | Do not include | Required | Yes |  | 0..1 | MS | Patient.address.city | US Core Patient.address.city | US Core: Name of city, town etc.
47 | PID | 1 | 11.5 | Patient zip code | See comment | Required | See comment | For anonymous reporting, only include initial three digits of zip code unless zip code is restricted. See here: https://www.hhs.gov/hipaa/for-professionals/privacy/special-topics/de-identification/index.html#zip | 0..1 | MS | Patient.address.postalCode | US Core Patient.address.postalCode | US Core: US Zip Codes
48 | PID | 1 | 11.9 | Patient County | Do not include | Required | Yes | https://phinvads.cdc.gov/vads/ViewValueSet.action?id=FA221794-C665-E811-98FD-0017A477041A | 0..1 |  | Patient.address.district | n/a
49 | PID | 1 | 13.3 | Patient phone telecom equipment code | Do not include | Optional | Yes | "PH" for phone number, "Internet" for email address | 1..1 | MS | Patient.telecom.system | US Core Patient.telecom.system | US Core: phone ¦ fax ¦ email ¦ pager ¦ url ¦ sms ¦ other
50 | PID | 1 | 13.4 | Patient email | Do not include | Optional | Yes |  | 0..1 | MS | Patient.telecom[system='email'].value | US Core Patient.telecom[system=email].value | US Core: The actual contact point details
51 | PID | 1 | 13.6 | Patient phone area code | Do not include | Required | Yes | {nnn} | 0..1 | MS | Patient.telecom[system='phone'].value | US Core Patient.telecom[system=phone].value | US Core: The actual contact point details
52 | PID | 1 | 13.7 | Patient local phone | Do not include | Required | Yes | {NNNNNNN} | 0..1 | MS | Patient.telecom[system='phone'].value | US Core Patient.telecom[system=phone].value | US Core: The actual contact point details
53 | PID | 1 | 22.1 | Patient ethnicity code | Optional | Optional |  | https://www.hl7.org/fhir/v2/0189/ | 0..1 |  | Patient.us-core-ethnicity | US Core Patient.us-core-ethnicity | US Core ethnicity Extension
54 | PID | 1 | 22.2 | Patient ethnicity description | Conditional | Conditional |  | When PID-22.1 is valued: https://www.hl7.org/fhir/v2/0189/ | 0..1 |  | Patient.us-core-ethnicity | US Core Patient.us-core-ethnicity | US Core ethnicity Extension
55 | PID | 1 | 22.3 | Patient ethnicity code system | Conditional | Conditional |  | When PID-22.1 is valued: "HL70189" | 0..1 |  | Patient.us-core-ethnicity | US Core Patient.us-core-ethnicity | US Core ethnicity Extension
56 | PID | 1 | 22.7 | Patient ethnicity code system version | Conditional | Conditional |  | When PID-22.1 is valued: "2.5.1" | 0..1 |  | Patient.us-core-ethnicity | US Core Patient.us-core-ethnicity | US Core ethnicity Extension
57 | ORC | 1 | 1 | Order control | Required | Required |  | "RE" | n/a
58 | ORC | 1 | 3.1 | Filler Order Number | Required | Required |  | {Same as SPM2.2.1} | n/a
59 | ORC | 1 | 3.3 | Filler Order Number Assigner OID | Required | Required |  | See 'Obtaining App Specific Identifiers' (same as MSH-3.2) | n/a
60 | ORC | 1 | 3.4 | Filler Order Number assigner ID type | Required | Required |  | "ISO" | n/a
61 | ORC | 1 | 12.1 | Ordering provider ID | Required for Prescription | Required for Prescription |  | {NPI} | n/a
62 | ORC | 1 | 12.2 | Ordering provider last name | Required for Prescription | Required for Prescription |  | {Ordering provider last name} | n/a
63 | ORC | 1 | 12.3 | Ordering provider first name | Required | Required |  | {Ordering provider first name} or "SA.OverTheCounter" | n/a
64 | ORC | 1 | 12.9.2 | Ordering provider ID assigner OID | Conditional | Conditional |  | When ORC-12.1 is valued: "2.16.840.1.113883.4.6" | n/a
65 | ORC | 1 | 12.9.3 | Ordering provider ID assigner type | Conditional | Conditional |  | When ORC-12.1 is valued: "ISO" | n/a
66 | ORC | 1 | 12.13 | Ordering provider ID type | Conditional | Conditional |  | When ORC-12.1 is valued: "NPI" | n/a
67 | ORC | 1 | 21.1 | Ordering facility name | Required | Required |  | "SA.OvertheCounter" for OTC, {OBR16.2} for prescription | n/a
68 | ORC | 1 | 22.1 | Ordering facility street | Required | Required |  | {PID11.1} for OTC, {ORC24.1} for prescription | n/a
69 | ORC | 1 | 22.2 | Ordering facility street 2 | Optional | Optional |  | {PID11.2} for OTC, {ORC24.2} for prescription | n/a
70 | ORC | 1 | 22.3 | Ordering facility city | Required | Required |  | {PID11.3} for OTC, {ORC24.3} for prescription | n/a
71 | ORC | 1 | 22.4 | Ordering facility state | Required | Required |  | {PID11.4} for OTC, {ORC24.4} for prescription | n/a
72 | ORC | 1 | 22.5 | Ordering facility zip | Required | Required |  | {PID11.5} for OTC, {ORC24.5} for prescription | n/a
73 | ORC | 1 | 22.9 | Ordering facility county | Optional | Optional |  | {PID11.9} for OTC, {ORC24.9} for prescription | n/a
74 | ORC | 1 | 23.6 | Ordering facility phone area code | Required | Required |  | {PID13.6} for OTC, {ORC14.6} for prescription | n/a
75 | ORC | 1 | 23.7 | Ordering facility local phone | Required | Required |  | {PID13.7} for OTC, {ORC14.7} for prescription | n/a
76 | ORC | 1 | 24.1 | Ordering provider street | Required for Prescription | Required for Prescription |  |  | n/a
77 | ORC | 1 | 24.2 | Ordering provider street 2 | Optional | Optional |  |  | n/a
78 | ORC | 1 | 24.3 | Ordering provider city | Required for Prescription | Required for Prescription |  |  | n/a
79 | ORC | 1 | 24.4 | Ordering provider state | Required for Prescription | Required for Prescription |  |  | n/a
80 | ORC | 1 | 24.5 | Ordering provider zip | Required for Prescription | Required for Prescription |  |  | n/a
81 | ORC | 1 | 24.9 | Ordering provider county | Optional | Optional |  |  | n/a
82 | OBR | 1 | 1 | Set ID | Required | Required |  | “1” | n/a
83 | OBR | 1 | 3.1 | Filler Order Number | Required | Required |  | {Same as SPM-2.2.1} | n/a
84 | OBR | 1 | 3.3 | Filler Order Number Assigner OID | Required | Required |  | See 'Obtaining App Specific Identifiers' (same as MSH-3.2) | n/a
85 | OBR | 1 | 3.4 | Filler Order Number assigner ID type | Required | Required |  | "ISO" | n/a
86 | OBR | 1 | 4.1 | Test ordered code | Required | Required |  | https://www.cdc.gov/csels/dls/sars-cov-2-livd-codes.html; LOINC Mapping tab - Column H | n/a
87 | OBR | 1 | 4.2 | Test ordered description | Required | Required |  | https://www.cdc.gov/csels/dls/sars-cov-2-livd-codes.html; LOINC Mapping tab - Column I | n/a
88 | OBR | 1 | 4.3 | Test ordered code system | Required | Required |  | "LN" | n/a
89 | OBR | 1 | 4.7 | Ordered test code system version | Required | Required |  | Use most common LOINC version available (Currently "2.71") | n/a
90 | OBR | 1 | 7.1 | Observation result date | Required | Required |  | {Same as SPM-17.1} | 1..1 | MS | Observation.effective[x].dateTime | Observation-at-home-in-vitro-test-result.effective[x].dateTime | The effectiveTime SHALL be precise to at least the minute and SHALL include a time zone offset
91 | OBR | 1 | 16.1 | Ordering provider ID | Required for Prescription | Required for Prescription |  | {NPI} | 0..1 | MS | Observation.basedOn.Reference(ServiceEvent)ServiceEvent.requester.USCorePractitioner.identifier.indentifier:NPI
92 | OBR | 1 | 16.2 | Ordering provider last name | Required for Prescription | Required for Prescription |  | {Ordering provider last name} | 1..1 | MS | Observation.basedOn.Reference(ServiceEvent)ServiceEvent.requester.USCorePractitioner.name.family
93 | OBR | 1 | 16.3 | Ordering provider first name | Required | Required |  | {Ordering provider first name} or "SA.OverTheCounter" | 0..* | MS | Observation.basedOn.Reference(ServiceEvent)ServiceEvent.requester.USCorePractitioner.name.given
94 | OBR | 1 | 16.9.2 | Ordering provider ID assigner OID | Conditional | Conditional |  | When OBR-16.1 is valued: "2.16.840.1.113883.4.6" | n/a
95 | OBR | 1 | 16.9.3 | Ordering provider ID assigner type | Conditional | Conditional |  | When OBR-16.1 is valued: "ISO" | 0..1 | MS | Observation.basedOn.Reference(ServiceEvent)ServiceEvent.requester.USCorePractitioner.identifier.indentifier:NPI.assigner
96 | OBR | 1 | 16.13 | Ordering provider ID type | Conditional | Conditional |  | When OBR 16.1 is valued: "NPI" | n/a
97 | OBR | 1 | 22.1 | Test result date released | Required | Required |  | {"YYYYMMDDHHMMSS+ZZZZ} | 0..1 | MS | Observation.issued | Observation-at-home-in-vitro-test-result.issued | Test result date released - when test item is done (in the at-home setting will mostly be the same as the Observation.effective[x], could be different when a proctor is involved - when the proctor releases the result) - mapped to OBR 22 because it is the required field in the message.
98 | OBR | 1 | 25 | Result status | Required | Required |  | "F" | 1..1 | MS | Observation.Status (=final) | Observation-at-home-in-vitro-test-result.status=final
99 | OBX | 1 | 1 | Set ID | Required | Required |  | “1” | n/a
100 | OBX | 1 | 2 | Test result format | Required | Required |  | "CWE" | n/a
101 | OBX | 1 | 3.1 | Test performed code | Required | Required |  | https://www.cdc.gov/csels/dls/sars-cov-2-livd-codes.html; LOINC Mapping Tab - column F | 0..1 | MS | Observation.code.coding.code | Observation-at-home-in-vitro-test-result.code.coding.code | At Home Tests: Symbol in syntax defined by the system
102 | OBX | 1 | 3.2 | Test performed description | Required | Required |  | https://www.cdc.gov/csels/dls/sars-cov-2-livd-codes.html; LOINC Mapping Tab - column G | 0..1 | MS | Observation.code.display | Observation-at-home-in-vitro-test-result.code.coding.display | At Home Tests: Representation defined by the system
103 | OBX | 1 | 3.3 | Test performed code system | Required | Required |  | "LN" | 0..1 | MS | Observation.code.coding.system | Observation-at-home-in-vitro-test-result.code.coding.system | At Home Tests: Identity of the terminology system
104 | OBX | 1 | 3.7 | Test Performed code system version | Required | Required |  | Use most common LOINC version available (Currently "2.71") | 0..1 |  | Observation.code.coding.version | Observation-at-home-in-vitro-test-result.code.coding.version | At Home Tests: Version of the system - if relevant
105 | OBX | 1 | 5.1 | Test result code | Required | Required |  | "260373001" if positive, "260415000" if negative, "455371000124106" if invalid, "125154007" if unsatisfactory | 0..1 | MS | Observation.value.coding.code | Observation-at-home-in-vitro-test-result.value.coding.code | At-Home Test Result Value
106 | OBX | 1 | 5.2 | Test result description | Required | Required |  | "Detected" if positive, "Not detected" if negative, "Invalid result" if invalid, “Specimen unsatisfactory for evaluation" if unsatisfactory | 0..1 | MS | Observation.value.coding.display | Observation-at-home-in-vitro-test-result.value.coding.display | At-Home Test Result Value
107 | OBX | 1 | 5.3 | Test result code system | Required | Required |  | "SCT" | 0..1 |  | Observation.value.coding.system | Observation-at-home-in-vitro-test-result.value.coding.system | At-Home Test Result Value
108 | OBX | 1 | 11 | Test result status | Required | Required |  | "F" | 1..1 | MS | Observation.Status=final | Observation-at-home-in-vitro-test-result.status=final
109 | OBX | 1 | 15.1 | Test Producer's ID | Required | Required |  | "00Z0000014" for OTC, "00Z0000015" for Prescription | n/a
110 | OBX | 1 | 17.1 | Device identifier | Required | Required |  | https://www.cdc.gov/csels/dls/sars-cov-2-livd-codes.html; LOINC Mapping tab - {value from column M}“_”{value from column N} |  |  | Observation.device.reference (Device)Device.udiCarrier.deviceIdentifier
111 | OBX | 1 | 17.3 | Device Coding System | Required | Required |  | "99ELR" | n/a |  | Observation.device.reference (Device)Device.udiCarrier.issuer
112 | OBX | 1 | 17.7 | Device Code System version | Required | Required |  | "Vunknown" | n/a
113 | OBX | 1 | 19 | Test analysis date | Required | Required |  | {YYYYMMDDHHMMSS[+/-ZZZZ]}, Date of mobile device interpretation | 1..1 | MS | Observation.effective.dateTime
114 | OBX | 1 | 23.1 | Test Performing organization name | Required | Required |  | "SA.OverTheCounter" or "SA.Prescription" | n/a
115 | OBX | 1 | 23.6.2 | Test Performing Organization ID Assigner OID | Required | Required |  | "2.16.840.1.113883.4.7" | n/a
116 | OBX | 1 | 23.6.3 | Test Performing Organization Assigner ID type | Required | Required |  | "ISO" | n/a
117 | OBX | 1 | 23.7 | Test Performing Organization ID Type | Required | Required |  | "XX" | n/a
118 | OBX | 1 | 23.1 | Test Performing Organization identifier | Required | Required |  | "00Z0000014" for OTC, "00Z0000015" for Prescription | n/a
119 | OBX | 1 | 24.3 | Test Performing Organization City | Required | Required |  | "Yakutat" | n/a
120 | OBX | 1 | 24.4 | Test Performing Organization State | Required | Required |  | "AK" | n/a
121 | OBX | 1 | 24.5 | Test Performing Organization Zip code | Required | Required |  | "99689" | n/a
122 | OBX | 1 | 24.9 | Test Performing Organization County | Required | Required |  | "02282" | n/a
123 | OBX | 1 | 29 | Observation type | Optional | Optional |  | "RSLT" | n/a
124 | OBX | 2 | 1 | Set ID | Required | Required |  | “2” | n/a
125 | OBX | 2 | 2 | Patient age value type | Required | Required |  | "NM" | n/a
126 | OBX | 2 | 3.1 | Patient age code | Required | Required |  | "35659-2" | n/a
127 | OBX | 2 | 3.2 | Patient age description | Required | Required |  | "Age at specimen collection" | n/a
128 | OBX | 2 | 3.7 | Patient age code system version | Optional | Optional |  | Use most common LOINC version available (Currently "2.71") | n/a
129 | OBX | 2 | 5 | Patient age | Required | Required |  | in years | n/a
130 | OBX | 2 | 6.1 | Patient age unit of measure code | Required | Required |  | "a" | n/a
131 | OBX | 2 | 6.2 | Patient age unit of measure description | Required | Required |  | "year" | n/a
132 | OBX | 2 | 6.3 | Patient age unit of measure code system | Required | Required |  | "UCUM" | n/a
133 | OBX | 2 | 6.7 | Patient age unit of measure code system version | Required | Required |  | "2.1" | n/a
134 | OBX | 2 | 11 | Patient age result status | Required | Required |  | "F" | n/a
135 | OBX | 2 | 15.1 | Patient age Producer's ID | Required | Required |  | "00Z0000014" for OTC, "00Z0000015" for Prescription | n/a
136 | OBX | 2 | 23.1 | Patient age Performing organization name | Required | Required |  | "SA.OverTheCounter" or "SA.Prescription" | n/a
137 | OBX | 2 | 23.6.2 | Patient age Performing Organization ID Assigner OID | Required | Required |  | "2.16.840.1.113883.4.7" | n/a
138 | OBX | 2 | 23.6.3 | Patient age Performing Organization Assigner ID type | Required | Required |  | "ISO" | n/a
139 | OBX | 2 | 23.7 | Patient age Performing Organization ID Type | Required | Required |  | "XX" | n/a
140 | OBX | 2 | 23.1 | Patient age Performing Organization identifier | Required | Required |  | "00Z0000014" for OTC, "00Z0000015" for Prescription | n/a
141 | OBX | 2 | 24.1 | Patient age Performing organization street address | Required | Required |  | "11 Fake AtHome Test Street" for OTC, "12 Fake AtHome Test Street" for Prescription | n/a
142 | OBX | 2 | 24.3 | Patient age Performing Organization City | Required | Required |  | "Yakutat" | n/a
143 | OBX | 2 | 24.4 | Patient age Performing Organization State | Required | Required |  | "AK" | n/a
144 | OBX | 2 | 24.5 | Patient age Performing Organization Zip code | Required | Required |  | "99689" | n/a
145 | OBX | 2 | 24.9 | Patient age Performing Organization County | Required | Required |  | "02282" | n/a
146 | OBX | 2 | 29 | Patient age Observation type | Required | Required |  | "QST" | n/a
147 | OBX | 3 | 1 | Set ID | Conditional | Conditional |  | When OBX-5 (Set 3) is valued: "3" | n/a
148 | OBX | 3 | 2 | Symptomatic assessment value type | Conditional | Conditional |  | When OBX-5 (Set 3) is valued: "CWE" | n/a
149 | OBX | 3 | 3.1 | Symptomatic assessment code | Conditional | Conditional |  | When OBX-5 (Set 3) is valued: "95419-8" | 1..1 | MS | Observation.code.coding.code | Observation - Patient Question Answer.code.coding.code
150 | OBX | 3 | 3.2 | Symptomatic assessment code description | Conditional | Conditional |  | When OBX-5 (Set 3) is valued: "Whether the patient has symptoms related to condition of interest" | 0..1 | MS | Observation.code.coding.display | Observation - Patient Question Answer.code.coding.display
151 | OBX | 3 | 3.3 | Symptomatic assessment code system | Conditional | Conditional |  | When OBX-5 (Set 3) is valued: "LN" | 1..1 | MS | Observation.code.coding.system | Observation - Patient Question Answer.code.coding.system
152 | OBX | 3 | 3.7 | Symptomatic assessment code system version | Optional | Optional |  | Use most common LOINC version available (Currently "2.71") | 0..1 | MS | Observation.code.coding.version | Observation - Patient Question Answer.code.coding.version
153 | OBX | 3 | 5 | Symptomatic assessment result | Optional | Optional |  | "Y^Yes^HL70136" if yes, "N^no^HL70136" if no, "UNK^Unknown^NULLFL" if unknown | 1..1 | MS | Observation.valueCodeableConcept.coding.code
154 | OBX | 3 | 11 | Symptomatic assessment result status | Conditional | Conditional |  | When OBX-5 (Set 3) is valued: "F" | n/a
155 | OBX | 3 | 15.1 | Symptomatic assessment Producer's ID | Required | Required |  | "00Z0000014" for OTC, "00Z0000015" for Prescription | n/a
156 | OBX | 3 | 23.1 | Symptomatic assessment Performing organization name | Required | Required |  | "SA.OverTheCounter" or "SA.Prescription" | n/a
157 | OBX | 3 | 23.6.2 | Symptomatic assessment Performing Organization ID Assigner OID | Required | Required |  | "2.16.840.1.113883.4.7" | n/a
158 | OBX | 3 | 23.6.3 | Symptomatic assessment Performing Organization Assigner ID type | Required | Required |  | "ISO" | n/a
159 | OBX | 3 | 23.7 | Symptomatic assessment Performing Organization ID Type | Required | Required |  | "XX" | n/a
160 | OBX | 3 | 23.1 | Symptomatic assessment Performing Organization identifier | Required | Required |  | "00Z0000014" for OTC, "00Z0000015" for Prescription | n/a
161 | OBX | 3 | 24.1 | Symptomatic assessment Performing organization street address | Required | Required |  | "11 Fake AtHome Test Street" for OTC, "12 Fake AtHome Test Street" for Prescription | n/a
162 | OBX | 3 | 24.3 | Symptomatic assessment Performing Organization City | Required | Required |  | "Yakutat" | n/a
163 | OBX | 3 | 24.4 | Symptomatic assessment Performing Organization State | Required | Required |  | "AK" | n/a
164 | OBX | 3 | 24.5 | Symptomatic assessment Performing Organization Zip code | Required | Required |  | "99689" | n/a
165 | OBX | 3 | 24.9 | Symptomatic assessment Performing Organization County | Required | Required |  | "02282" | n/a
166 | OBX | 3 | 29 | Symptomatic assessment Observation type | Required | Required |  | "QST" | n/a
167 | OBX | 4 | 1 | Set ID | Conditional | Conditional |  | When OBX-5 (Set 4) is valued: "4"
168 | OBX | 4 | 2 | Illness onset date value type | Conditional | Conditional |  | When OBX-5 (Set 4) is valued: "DT" |  | MS | Extension: Observation.reasonReference.Reference.USCoreCondition.onsetDateTime
169 | OBX | 4 | 3.1 | Illness onset date code | Conditional | Conditional |  | When OBX-5 (Set 4) is valued: "65222-2" |  |  | Extension: Observation.reasonReference.Reference.USCoreCondition.onsetDateTime
170 | OBX | 4 | 3.2 | Illness onset date code description | Conditional | Conditional |  | When OBX-5 (Set 4) is valued: "Date and time of symptom onset" | 0..1 | MS | Extension: Observation.reasonReference.Reference.USCoreCondition.code
171 | OBX | 4 | 3.3 | Illness onset date code system | Conditional | Conditional |  | When OBX-5 (Set 4) is valued: "LN" |  |  | Extension: Observation.reasonReference.Reference.USCoreCondition.code
172 | OBX | 4 | 3.7 | Illness onset date code system version | Optional | Optional |  | Use most common LOINC version available (Currently "2.71")
173 | OBX | 4 | 5 | Illness onset date result | Conditional | Conditional |  | When OBX-5 (Set 3) is valued: {YYYYMMDDHHMMSS[+/-ZZZZ]}
174 | OBX | 4 | 6.7 | Unit code system version | Optional | Optional |  | Use most common UCUM version available (currently "2.1")
175 | OBX | 4 | 11 | Illness onset date result status | Conditional | Conditional |  | When OBX-5 (Set 4) is valued: "F"
176 | OBX | 4 | 15.1 | Illness onset Producer's ID | Required | Required |  | "00Z0000014" for OTC, "00Z0000015" for Prescription | n/a
177 | OBX | 4 | 23.1 | Illness onset Performing organization name | Required | Required |  | "SA.OverTheCounter" or "SA.Prescription" | n/a
178 | OBX | 4 | 23.6.2 | Illness onset Performing Organization ID Assigner OID | Required | Required |  | "2.16.840.1.113883.4.7" | n/a
179 | OBX | 4 | 23.6.3 | Illness onset Performing Organization Assigner ID type | Required | Required |  | "ISO" | n/a
180 | OBX | 4 | 23.7 | Illness onset Performing Organization ID Type | Required | Required |  | "XX" | n/a
181 | OBX | 4 | 23.1 | Illness onset Performing Organization identifier | Required | Required |  | "00Z0000014" for OTC, "00Z0000015" for Prescription | n/a
182 | OBX | 4 | 24.1 | Illness onset Performing organization street address | Required | Required |  | "11 Fake AtHome Test Street" for OTC, "12 Fake AtHome Test Street" for Prescription | n/a
183 | OBX | 4 | 24.3 | Illness onset Performing Organization City | Required | Required |  | "Yakutat" | n/a
184 | OBX | 4 | 24.4 | Illness onset Performing Organization State | Required | Required |  | "AK" | n/a
185 | OBX | 4 | 24.5 | Illness onset Performing Organization Zip code | Required | Required |  | "99689" | n/a
186 | OBX | 4 | 24.9 | Illness onset Performing Organization County | Required | Required |  | "02282" | n/a
187 | OBX | 4 | 29 | Illness onset Observation type | Required | Required |  | "QST" | n/a
188 | SPM | 1 | 1 | Set ID | Required | Required |  | “1” | n/a
189 | SPM | 1 | 2.2.1 | Specimen ID | Required | Required |  | {Unique ID assigned to every test by app manufacturer} | 0..1 | MS | Observation.specimen.reference(Specimen).Specimenidentifier.Identifier | Specimen-at-home-in-vitro-test.identifier
190 | SPM | 1 | 2.2.3 | Specimen ID Assigner OID | Required | Required |  | See 'Obtaining App Specific Identifiers' (same as MSH-3.2) | 0..1 | MS | Observation.specimen.reference(Specimen).Specimen.identifier.Identifier.uri
191 | SPM | 1 | 2.2.4 | Specimen ID assigner ID type | Required | Required |  | "ISO" | 0..1 | MS | Observation.specimen.reference(Specimen).Specimen.identifier.Identifier.type
192 | SPM | 1 | 4.1 | Specimen type code | Required | Required |  | https://www.cdc.gov/csels/dls/sars-cov-2-livd-codes.html | 0..1 | MS | Observation.specimen.reference(Specimen).Specimen.type.codableConcept | Specimen-at-home-in-vitro-test.type.coding.code
193 | SPM | 1 | 4.2 | Specimen type description | Optional | Optional |  | https://www.cdc.gov/csels/dls/sars-cov-2-livd-codes.html | 0..1 | MS | Observation.specimen.reference(Specimen).Specimen.type.codableConcept | Specimen-at-home-in-vitro-test.type.text | The specimen text description.
194 | SPM | 1 | 4.3 | Specimen type code system | Required | Required |  | "SCT" | 0..1 | MS | Observation.specimen.reference(Specimen).Specimen.type.codableConcept | Specimen-at-home-in-vitro-test.type.coding.system
195 | SPM | 1 | 4.7 | Specimen type code system version | Required | Required |  | "20210301"
196 | SPM | 1 | 17.1 | Specimen collected date | Required | Required |  | {YYYYMMDDHHMMSS[+/-ZZZZ]} | 1..1 | MS | Observation.specimen.reference(Specimen).Specimen.collection.collected.dateTime | Specimen-at-home-in-vitro-test.collectedDateTime
197 | SPM | 1 | 18.1 | Specimen received date/time | Required | Required |  | {YYYYMMDDHHMMSS[+/-ZZZZ]} | n/a
|  |  |  | Organization that issues the UDI for this test | Not included in V2 IG | Not included in V2 IG |  |  | 0..1 | MS | Device.udiCarrier.issuer
|  |  |  | Expiration date of the test kit | Not included in V2 IG | Not included in V2 IG |  |  | 0..1 | MS | Device.expirationDate
|  |  |  | Lot number of the test kit | Not included in V2 IG | Not included in V2 IG |  |  | 0..1 | MS | Device.lotNumber
|  |  |  | Serial number of the test kit | Not included in V2 IG | Not included in V2 IG |  |  | 0..1 | MS | Device.serialNumber
[5 empty] | Not included in V2 IG | Not included in V2 IG |  |  | 0..1 |  | DiagnosticReport.media
[5 empty] | Not included in V2 IG | Not included in V2 IG |  |  |  |  | Proctor